Dripperline Land Application Installation Check List

Ref No: #

### Property details

| Address of property: |  |  |  |
| --- | --- | --- | --- |
| Owner name: |  | Builder name: |  |
| Designer name: |  | Installer name: |  |
| Council/ Regional Authority: |  | Council/ Regional Authority contact: |  |
| Date: |  | Building type: |  |

### Set back distances

| Set back | Set-back distance | Within range | Set back | Set-back distance | Within range |
| --- | --- | --- | --- | --- | --- |
| Property boundaries: |  | Yes No | Hard surface: |  | Yes No |
| Waterways: |  | Yes No | Buildings: |  | Yes No |
| Well/ bores: |  | Yes No | Other ( ): |  | Yes No |
| Embankments: |  | Yes No | Other ( ): |  | Yes No |
| Stand of trees/ shrubs: |  | Yes No | Other ( ): |  | Yes No |
| Check with local council or regional authority for minimum set-back requirements as they vary. |  |  |  |  |  |

### Land Application

| Daily flow rate: |  | Land application area in m² |  |
| --- | --- | --- | --- |
| Dripperline type: |  | Flow/ spacing: |  |
| Depth of installation: |  | Application rate: |  |
| Installation method: |  | Regulatory depth of installation: |  |
| Total run length |  | Parallel to contours | Yes No |
| Max run length- refer table below |  | Dripperline lateral spacing |  |

### Maximum run length on flat elevation

| Dripperline | End Pressure (pressure at the end of the dripperline) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 11m | 15m | 20m | 25m |
| Bioline AS 1.6l/hr @ 0.5m | 98m | 125m | 148m | 165m |
| Bioline AS 2.0l/hr @ 0.6m | 98m | 125m | 148m | 165m |
| Bioline AS 3.0l/hr @ 1.0m | 114m | 145m | 172m | 192m |
| UniBioline CNL 1.6l/hr @ 0.4m | 61m | 106m | 140m | 155m |
| UniBioline CNL 1.6l/hr @ 0.5m | 74m | 129m | 169m | 188m |
| UniBioline CNL 2.3l/hr @ 0.6m | 68m | 118m | 155m | 173m |
| UniBioline CNL 3.5l/hr @ 1.0m | 77m | 135m | 178m | 198m |
| Netafim dripperline has spacing and flow rate marked along tube |  |  |  |  |

## Installation checklist

| Checklist | Approval | Action Required |
| --- | --- | --- |
| Pump |  |  |
| Has the correct pump been used to suit type of dripperline? Suggest minimum 20m shut off head pressure- usually twin impeller | Yes No |  |
| Headworks Assembly |  |  |
| Has a minimum of 120 mesh, 130 micron filter been installed? Red disks | Yes No |  |
| Is the direction of the filters installed correctly? Check on the body for an arrow show direction | Yes No |  |
| Is it installed in a rectangular valve box with a gravel base to ensure water to drain? | Yes No n/a |  |
| If a valve box is used has it a lilac lid? | Yes No n/a |  |
| Have all threads used pipe tape or dope to connect to fittings? | Yes No |  |
| Are all fittings secure, tight and parallel to pipe work? | Yes No |  |
| Techfilter |  |  |
| If the dripperline is installed sub-surface (below ground) has a Techfilter been installed downstream of the primary filter? | Yes No n/a |  |
| Has the installation date been marked on the Techfilter cartridge to ensure it is changed in 24 months? | Yes No n/a |  |
| Has all OH&S procedures been carried out when installing the Techfilter cartridge? Refer to handling instructions in Techfilter box. | Yes No n/a |  |
| Dripperline |  |  |
| Has the dripperline been damaged during installation? | Yes No |  |
| If trenched are any rocks abutting the dripperline? | Yes No n/a |  |
| If trenched is the existing soil type used to back-fill the trench? This improves the lateral movement in all directions of the effluent through the soil. | Yes No n/a |  |
| Is the dripperline parallel to the contours? Especially important when using Bioline AS to improve issues with run-off. | Yes No |  |
| Is the lateral spacing of the dripperline between 600mm and 1000mm as stated in AS/NZ 1547:2000? | Yes No |  |

| Checklist | Approval | Action Required |
| --- | --- | --- |
| Monitor and record pressures across field. | Yes No |  |
| When dripperline zone exceeds 1.4m in elevation when using UniBioline CNL dripperline has DNL (check valves) been installed? UniBioline CNL will hold maximum of 1.4m of water. | Yes No n/a |  |
| Fittings |  |  |
| Has correct dripperline fittings been installed? Refer to Land Application Design Manual | Yes No |  |
| Are the dripperline take-off perpendicular to the submain and flushmains? Refers to straight take-offs | Yes No n/a |  |
| Has ratchet clamps been installed on all LDPE and dripperline fittings? | Yes No n/a |  |
| Air Release Valve |  |  |
| Has an air release valve been installed at the highest point of each zone? | Yes No |  |
| Is it installed in a round valve box with a gravel base to ensure water to drain? | Yes No |  |
| Has the valve box a lilac lid? | Yes No |  |
| Is it installed in the vertical position? | Yes No |  |
| Are all fittings secure, tight and parallel to pipe work? | Yes No |  |
| Flush Valve |  |  |
| Has a manual flush valve been installed at the lowest point on the flush main or at the end of each lateral? | Yes No |  |
| Is it installed in a round valve box with a gravel base to ensure drainage will occur? | Yes No n/a |  |
| Has the valve box a lilac lid? | Yes No n/a |  |
| Is it easily assessable for opening when maintenance is required? | Yes No |  |
| Are all fittings secure, tight and parallel to pipe work? | Yes No |  |
| Are all dripperline laterals jointed to the flush line? | Yes No |  |

### System start-up checklist

| Checklist | Approval |
| --- | --- |
| Has filter cartridge been installed? | Yes No |
| Has Techfilter cartridge been installed? | Yes No n/a |
| Are manual flush valves open on initial startup to flush any debris out? | Yes No |
| Are there leaks in headworks assembly? | Yes No |
| Are there leaks in submains? | Yes No |
| Are there leaks in connections to dripperlines? | Yes No |
| Are there leaks at air valve assembly? | Yes No |
| Is there any obvious ponding in the dripperline area? | Yes No |

### Regulations and Legislation

Each state and council has regulations and by-laws concerning the dispersal of effluent which must be strictly complied with. This checklist is intended to be an aid to installers and end users of the land application dispersal systems and according to local, state or federal law and regulation shall take precedence over this checklist. You are accordingly advised and requested to check with your own council and state government as to their specific requirements for the installation of land application dispersal systems. Furthermore, the user of the land application dispersal systems is subject to all local conditions that prevail at the site and further subject to any appropriate expert tests including but not limited to soil tests and water tests, which may be required prior to the installation to determine the fitness for use.

In addition, other factors must be considered to determine fitness for use including but not limited to slope and landscape contours and acceptable hydraulic loading rates.

### Disclaimer

The information contained in this manual is intended to act as commentary and general information and is not intended to be advice or contain any representations that should be relied upon by the reader or recipient.  The reader or recipient should not rely upon any statement of potential performance, productivity or efficiency as these matters will depend on the individual circumstances of the reader/recipient and the reader/recipient should conduct their own independent investigations and enquiries in respect of these matters.

Any technical information is generic and should not be relied on by the reader or recipient.  Furthermore, Netafim does not warrant or make any representation regarding the information contained in this manual or the reliability of the information and the reader or recipient should not rely upon any statement or representation made in this manual.  The reader or recipient should obtain advice tailored to their particular circumstances and should not rely upon information contained in this manual for any purpose.

If the reader or recipient acquires goods or services from Netafim the relationship between Netafim and the reader/recipient will be governed by Netafim's supply terms and conditions.

The reader or recipient warrants that this manual is received subject to these conditions and that the reader or recipient will not provide this manual to any person who Netafim has not expressly authorised to receive this manual.  If, after obtaining Netafirm's express authority, this manual is provided to any other person by the reader or recipient it shall be provided to that person on the same terms set out in this disclaimer.